## Slide 1: Operations
Hardware status
  EBC42 tripped several times over the past week
  Optical connector of TBM in lab@CERN re-soldered
Biweekly calibration runs
  Introduced “CIS ramp” calibration run for optimal filtering validation
Combined running: 18/09 – 21/09
  SCT, TRT, LAr, Tile, L1Calo, MDT, RPC
Stopless recovery
  Succesfully tested automatic removal of 1 read-out link