## Slide 1: Meeting BPM IFIC
Project meeting - 27th of January 2026
Juan Carlos Fernández Ortega, Laura Karina Pedraza, Daniel Esperante, Nuria Fuster Martínez, Marçà Boronat, César Blanch, Benito Gimeno, Daniel González
juancarlos.fernandez@ific.uv.es

## Slide 2: Hardware improvements 03 01 02 04 TABLE OF CONTENTS FPGA+ADC progress Introduction Double downconversion
05
Future work

## Slide 3: 1. Introduction
O. Friar, Building, Optimising and Measuring the Performance of Downconverting electronics using X-Microwave Modules, Major Project Report, 2022
May design
2. Local Oscillator Generator
1. Downconversion
system

## Slide 4: 2. Double downconversion
LPF
Splitter 1:4
Mixer
BPF
Amp
RF = 1.725 GHz
PLL
CLK = 714 MHz
LO = 2.142 GHz
Splitter 1:3
Oscilloscope
TUNNEL
µC
Local Oscillator input is 714 MHz from ATF RF slave signal generator and generates the necessary frequency multiples for synchronization between our system and ATF bunch repetition rate.
Microcontroller programs the PLL via the SPI protocol to ensure accurate frequency control.

## Slide 5
cBPM
Hybrid coupler
Oscilloscope
Downconversion
system
LO signal generator
Calibration procedure
of the cBPM
DDC algorithm for
signal processing
I
N
S
I
D
E
TUNNEL
C
O
N
T
R
O
L
R
O
O
M
NEXT TO TUNNEL
Resolution measurement
2. Double downconversion

## Slide 6
O. Friar, Building, Optimising and Measuring the Performance of Downconverting electronics using X-Microwave Modules, Major Project Report, 2022
180
Hybrid
cBPM
Σ
Δ
RF = 1.725 GHz
LO = 1.428 GHz
Att
BPF
Amp
Mixer
IF = 297 MHz
180
Hybrid
Σ
Δ
Att
BPF
Amp
Mixer
Att
BPF
Amp
Mixer
RF = 1.255 GHz
TUNNEL
LO = 357 MHz
LPF
LPF
LPF
Mixer
Mixer
Mixer
LPF
IF = 60 MHz
Amp
Amp
Amp
LPF
LPF
LPF
Oscilloscope
X line
Y line
REF line
Second down-conversion
LPF
LPF
LPF
New implementation for December shifts

## Slide 7: 2. Double downconversion
Mixer
BPF
Amp
RF = 1.725 GHz
PLL
LO = 2.142 GHz
Splitter 1:3
µC
June design (Local Oscillator generator)
Mixer
LPF
RF = 297 MHz
PLL
CLK = 714 MHz
LO = 357 MHz
Splitter 1:3
Oscilloscope
TUNNEL
µC
CLK = 714 MHz
TUNNEL
1st downconversion
2nd downconversion
Different mixers
2nd mixer needs a lower input power.

## Slide 8
Splitter 1:2
LPF
LPF
Mixer
Mixer
LPF
LPF
Amplifier of ATF.
Possible saturation…
Need of similar amplifier.

## Slide 9
A) FPGA and ADC Project Status
3. FPGA + ADC
FPGA (first tests)
Artix 7 – AC701 for testing, probably will change to a FPGA manufactured by IOXOS company.
FPGA+ADC manage data position information in real-time signal processing.
ADC: 16 bit, 250 Msps, 8 channels.
BUT... if 60 MHz double-downconversion finally works fine:
Considering this ADC: 16 bit, 250 Msps, 8 channels.

## Slide 10
Make more compact system and reliable.
Change of frequency output due to problem of synchronization with ATF (resolved in May Shifts). However, we have changed some components in this set of shifts.
Preparing all these changes done during July-November in Valencia.
These changes have been performed in the last two weeks of November at ATF.
Set analog down-conversion system inside new crate,
  similar crate that Local-Oscillator signal.
Front panel
Back panel
4. Hardware improvements

## Slide 11
Make more compact system and reliable.
Change of frequency output due to problem of synchronization with ATF (resolved in May Shifts). However, we have changed some components in this set of shifts.
Preparing all these changes done during July-November in Valencia
These changes have been performed in the last two weeks of November at ATF.
Set new holders for PLL inside Local Oscillator crate and set new aluminum plates for analog components.
B) Hardware improvements
4. Hardware improvements

## Slide 12
 | 2025 | 2026 |  | 2027 | 
 | Oct - Dec | Jan - Jun | Jul - Dec | Jan - Jun | Jul - Dec
Finalize CEA BPM performance characterization |  |  |  |  | 
Test with beam the new cavity BPM |  |  |  |  | 
Develop and test the partially o fully digital DAQ system |  |  |  |  | 
Investigate how to evaluate the BPM-spQM alignment accuracy |  |  |  |  | 
Mechanical design of dummy model BPM-flanges-beam pipe |  |  |  |  | 
Construction of dummy model BPM-flanges-beam pipe |  |  |  |  | 
Test dummy model at test cryostat at KEK |  |  |  |  | 
A) Plan
5. Future work

## Slide 13
    Beam time along 2025, 2026 and 2027 (once or twice per year)
    Installation of new prototype in 2026 adding it to the LINAC at ATF.
    Test new cavity BPM performance at ATF.
    Develop the DAQ system based on µTCA and try to implement at ATF.
5. Future work

## Slide 14: Meeting BPM IFIC
Project meeting - 27th of January 2026
Juan Carlos Fernández Ortega, Laura Karina Pedraza, Daniel Esperante, Nuria Fuster Martínez, Marçà Boronat, César Blanch, Benito Gimeno, Daniel González
juancarlos.fernandez@ific.uv.es